## Slide 1
CLINICAL PATHOLOGY RESIDENCY LECTURE SERIES
CLINICAL CHEMISTRY · LECTURE 5 OF 5
Toxicology, TDM & Point-of-Care Testing
Screening vs Confirmation, Drug Monitoring, and Governance
Dr. Tamima El-Jisr
Chairperson, Department of Laboratory Medicine
Makassed General Hospital, Beirut
Clinical Pathology Residency Curriculum

## Slide 2
CLINICAL CHEMISTRY · FRAMING THE PROBLEM
Why This Matters
Confirm
A positive drug screen is presumptive until mass spectrometry confirms
Trough
Most therapeutic drug monitoring is interpreted at steady-state trough
POCT
Point-of-care testing needs the same oversight as the main lab
Toxicology and TDM are interpretation-and-governance disciplines: knowing the difference between a screen and a confirmation, when to sample, and how to keep decentralized testing safe.
Cross-reactivity makes screens fast but fallible — never report a definitive toxicology result on an immunoassay screen alone.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 2

## Slide 3
CLINICAL CHEMISTRY · ·
Learning Objectives
1
Distinguish screening immunoassays from confirmatory mass spectrometry.
2
Recognize common drug-screen cross-reactivities and pitfalls.
3
Apply therapeutic drug monitoring principles (steady state, trough/peak).
4
State point-of-care testing governance and quality requirements.
5
Outline method validation essentials for new assays.
6
Apply reference intervals and critical-value reporting.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 3

## Slide 4
CLINICAL CHEMISTRY · WHAT WE WILL COVER
Roadmap
1
Toxicology testing — screen vs confirm; cross-reactivity
2
Therapeutic drug monitoring — sampling and interpretation
3
Point-of-care testing — governance and quality
4
Validation essentials — performance characteristics
5
Cases & board
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 4

## Slide 5
01
PART ONE
Toxicology: Screen vs Confirm

## Slide 6
CLINICAL CHEMISTRY · TOXICOLOGY
Screening and Confirmation
Original schematic. Immunoassay screens are presumptive; GC-MS / LC-MS/MS provide definitive identification and quantitation.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 5

## Slide 7
CLINICAL CHEMISTRY · TOXICOLOGY
Cross-Reactivity and Pitfalls
FALSE POSITIVES & NEGATIVES
Immunoassays cross-react: e.g., some antihistamines/decongestants with amphetamines; certain quinolones with opiates.
Opiate screens may miss synthetic/semisynthetic opioids (fentanyl, oxycodone) — use targeted assays.
Adulteration/dilution affects urine drug screens (check creatinine, pH, oxidants).
A negative screen does not exclude all drugs.
CONFIRMATION
GC-MS and LC-MS/MS identify and quantify specific compounds.
Required for any result with clinical, forensic, or employment consequences.
Resolves cross-reactivity by exact mass / fragmentation.
Report presumptive vs confirmed clearly.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 6

## Slide 8
02
PART TWO
Therapeutic Drug Monitoring & POCT

## Slide 9
CLINICAL CHEMISTRY · TDM
Principles of Drug Monitoring
WHEN AND WHAT TO SAMPLE
Monitor drugs with a narrow therapeutic index (e.g., vancomycin, aminoglycosides, digoxin, lithium, certain antiepileptics, immunosuppressants).
Sample at STEADY STATE (~5 half-lives) unless assessing toxicity.
Trough (just before the next dose) for most agents; specific peak/AUC for aminoglycosides/vancomycin.
Digoxin: draw ≥ 6–8 h post-dose to avoid the distribution phase.
INTERPRETATION CAVEATS
Free (unbound) drug matters when protein binding changes (e.g., phenytoin in hypoalbuminemia/uremia).
Active metabolites may not be measured by the assay.
Timing errors are the commonest cause of misinterpretation.
Correlate level with clinical effect and toxicity.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 7

## Slide 10
CLINICAL CHEMISTRY · POCT
Point-of-Care Testing Governance
WHY GOVERNANCE MATTERS
POCT is performed by non-laboratorians across many sites — the error surface is large.
Requires operator training/competency, QC, connectivity, and result documentation.
Lot verification and reagent storage are common failure points.
Oversight sits with the laboratory medical director under CLIA/accreditation.
QUALITY REQUIREMENTS
Defined QC frequency and lockout for failed QC.
Correlation with central-lab methods (method comparison).
Critical-value communication pathways from the bedside.
Data capture into the LIS/EHR for traceability.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 8

## Slide 11
03
PART THREE
Validation, Cases & Board

## Slide 12
CLINICAL CHEMISTRY · VALIDATION
Method Validation Essentials
Characteristic | What it establishes
Accuracy / trueness | Agreement with a reference or comparative method
Precision | Repeatability and reproducibility (within/between run)
Analytical sensitivity / LoD | Lowest reliably detected concentration
Analytical specificity | Freedom from interference / cross-reactivity
Linearity / reportable range | Range over which results are valid
Reference interval | Expected values in the relevant population
FDA-cleared assays require verification; laboratory-developed tests require full validation before clinical use.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 9

## Slide 13
CLINICAL CHEMISTRY · CASE 1
Case 1
CLINICAL VIGNETTE
A pre-employment urine drug screen is positive for amphetamines. The donor takes an over-the-counter decongestant and denies stimulant use. The sample is sent for confirmatory testing.
?
How should the laboratory handle the discrepancy, and what does confirmation add?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 10

## Slide 14
CLINICAL CHEMISTRY · CASE 1 · RESOLUTION
Case 1: Presumptive Positive Screen
The immunoassay screen is presumptive and cross-reacts with sympathomimetics like some decongestants.
Definitive results require GC-MS or LC-MS/MS confirmation.
Confirmation distinguishes true amphetamine/methamphetamine from cross-reacting compounds.
Report screen results as presumptive and act only on confirmed results in consequential settings.
TEACHING POINT
Never release a consequential toxicology result on a screen alone — confirm by mass spectrometry, which resolves cross-reactivity.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 11

## Slide 15
CLINICAL CHEMISTRY · CASE 2
Case 2
CLINICAL VIGNETTE
A patient on phenytoin with hypoalbuminemia has a low-normal TOTAL phenytoin level but clinical signs of toxicity (nystagmus, ataxia).
?
Why is the total level misleading, and what test clarifies the situation?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 12

## Slide 16
CLINICAL CHEMISTRY · CASE 2 · RESOLUTION
Case 2: Free Phenytoin in Hypoalbuminemia
Phenytoin is highly protein-bound; in hypoalbuminemia the free (active) fraction rises while total drug appears normal/low.
The patient is clinically toxic because free drug is elevated.
Measure FREE phenytoin (or use a correction such as the Sheiner-Tozer estimate).
Adjust dosing to the free level and clinical effect.
TEACHING POINT
For highly protein-bound drugs in altered binding states (low albumin, uremia), interpret the FREE level, not the total.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 13

## Slide 17
CLINICAL CHEMISTRY · BOARD REVIEW · Q1
Board-Style Review
A urine immunoassay is positive for opiates but the patient only takes oxycodone. The most likely explanation is:
A. A true positive for morphine
B. Opiate immunoassays may not reliably detect semisynthetic/synthetic opioids; targeted testing/confirmation is needed
C. Sample adulteration
D. The hook effect
E. Heterophile antibody
ANSWER B — Screens may miss semisynthetic/synthetic opioids
Standard opiate immunoassays are calibrated to morphine/codeine and can under-detect oxycodone/fentanyl; targeted assays or LC-MS/MS are required.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 14

## Slide 18
CLINICAL CHEMISTRY · BOARD REVIEW · Q2
Board-Style Review
When should a trough level generally be drawn for routine therapeutic drug monitoring?
A. Immediately after the first dose
B. At the peak after any dose
C. At steady state, just before the next dose
D. Randomly
E. Only when toxicity is suspected
ANSWER C — At steady state, pre-dose (trough)
Steady state (~5 half-lives) with a pre-dose trough gives the most interpretable, reproducible level for most monitored drugs.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 15

## Slide 19
CLINICAL CHEMISTRY · BOARD REVIEW · Q3
Board-Style Review
A laboratory-developed test (not FDA-cleared) is being introduced. Before clinical use it requires:
A. Verification of manufacturer claims only
B. Full validation of accuracy, precision, sensitivity, specificity, linearity, and reference interval
C. No additional study
D. Only a reference interval
E. Only proficiency testing
ANSWER B — Full validation
FDA-cleared assays require verification; laboratory-developed tests require full validation of all performance characteristics before clinical reporting.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 16

## Slide 20
CLINICAL CHEMISTRY
Key Take-Home Points
1
Drug screens are presumptive and cross-react; confirm consequential results by GC-MS / LC-MS/MS.
2
Standard opiate screens can miss synthetic/semisynthetic opioids — use targeted assays when needed.
3
TDM: sample at steady state, usually as a trough; interpret FREE drug when protein binding is altered.
4
POCT needs the same governance as the main lab: competency, QC, correlation, connectivity, and director oversight.
5
Validate laboratory-developed tests fully (accuracy, precision, LoD, specificity, linearity, reference interval); verify FDA-cleared assays.
Makassed General Hospital · Department of Laboratory Medicine
17

## Slide 21
CLINICAL CHEMISTRY · REFERENCES & FURTHER READING
References
1. Rifai N, et al. Tietz Textbook of Clinical Chemistry, 6th ed. Elsevier, 2018.
2. CLSI EP15/EP06/EP07: Precision, Linearity, and Interference verification/validation.
3. Clarke W (ed). Contemporary Practice in Clinical Chemistry, AACC Press.
4. CLSI POCT documents (POCT governance and quality).
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 18