## Slide 1
CLINICAL PATHOLOGY RESIDENCY LECTURE SERIES
HEMATOLOGY & COAGULATION · LECTURE 1 OF 5
CBC & Peripheral Smear Interpretation
From the Automated Count to the Glass Slide
Dr. Tamima El-Jisr
Chairperson, Department of Laboratory Medicine
Makassed General Hospital, Beirut
Clinical Pathology Residency Curriculum

## Slide 2
HEMATOLOGY & COAGULATION · FRAMING THE PROBLEM
Why This Matters
MCV
The first fork whenever a red-cell count is abnormal
Flags
Analyzer flags signal when the automated differential needs human eyes
Smear
Pull the slide when counts, flags, or the patient don’t agree
The CBC is the most-ordered test in the laboratory. Reading it well means knowing what the analyzer measures, when to distrust it, and when the glass slide changes the diagnosis — sometimes within minutes.
A single critical morphology — blasts, schistocytes, or malaria — can change management before the rest of the workup returns.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 2

## Slide 3
HEMATOLOGY & COAGULATION · ·
Learning Objectives
1
Interpret CBC indices (MCV, MCH, MCHC, RDW) and analyzer flags.
2
Recognize spurious results and their preanalytic causes.
3
State the triggers for which a manual smear review changes management.
4
Identify high-yield red-cell morphologies and their associations.
5
Identify white-cell and platelet morphologies that alter the diagnosis.
6
Communicate urgent morphologic findings and critical values.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 3

## Slide 4
HEMATOLOGY & COAGULATION · WHAT WE WILL COVER
Roadmap
1
The automated CBC — what the analyzer measures
2
When the analyzer can’t be trusted — spurious results
3
The systematic smear review — a reproducible routine
4
Morphology that changes management — red cells, white cells, platelets
5
Cases & board review
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 4

## Slide 5
01
PART ONE
The Automated CBC

## Slide 6
HEMATOLOGY & COAGULATION · THE AUTOMATED CBC
Red-Cell Indices
SIZE & HEMOGLOBINIZATION
MCV — average red-cell size; the first branch point (micro <80, normo 80–100, macro >100 fL).
MCH/MCHC — hemoglobin content; MCHC >36 g/dL is a red flag for spherocytes, cold agglutinins, or lipemia.
RDW — anisocytosis; high RDW favors iron deficiency over thalassemia trait.
Hyperchromia is essentially an artifact — cells cannot be over-filled.
RESPONSE & RELATED
Reticulocyte count / IRF reflects the marrow’s response.
Nucleated RBCs may be miscounted as WBCs — correct the WBC.
Hb/Hct relationship (rule of three) cross-checks plausibility.
Impedance vs optical methods affect platelet and RBC counts.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 5

## Slide 7
HEMATOLOGY & COAGULATION · THE AUTOMATED CBC
White Cells and Platelets
WBC DIFFERENTIAL & FLAGS
The automated 5-part differential classifies normal cells well — not abnormal ones.
Flags ('blasts?', 'immature granulocytes', 'atypical lymphocytes') mean the analyzer couldn’t classify a population.
A flag is an instruction to review the smear, not a diagnosis.
Read absolute counts, not just percentages.
PLATELETS
Counted by impedance/optical methods; MPV reflects size.
Impedance can miscount: fragments read as platelets; giant platelets missed.
Clump/giant-platelet flags should trigger a smear.
When the count doesn’t fit the patient, estimate from the slide.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 6

## Slide 8
HEMATOLOGY & COAGULATION · SPURIOUS RESULTS
When the Analyzer Can’t Be Trusted
Spurious result | Mechanism | Clue / fix
Low platelets (pseudo) | EDTA-dependent platelet clumping | Clumps on smear; recollect in citrate
High MCV, low RBC | Cold agglutinins (red-cell doublets) | MCHC >36, clumps; warm to 37°C
High WBC | NRBCs / platelet clumps counted as WBC | Correct WBC for NRBC; review smear
Low platelets | Platelet satellitism | Citrate tube; confirm on smear
Low hemoglobin | Lipemia, icterus, very high WBC | Sample blank / dilution
Normal-appearing count | Giant platelets not counted | Smear estimate; optical method
Rule of thumb: when a value doesn’t fit the patient, suspect a preanalytic or analyzer artifact — and pull the smear.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 7

## Slide 9
02
PART TWO
The Peripheral Smear

## Slide 10
HEMATOLOGY & COAGULATION · A REPRODUCIBLE ROUTINE
A Systematic Smear Review
1. Low power (10×)
scan distribution, rouleaux, clumps
2. Red cells
size, color, shape, inclusions
3. White cells
estimate, differential, blasts
4. Platelets
estimate, clumps, giant forms
Estimate platelets: average per oil-immersion field × ≈15–20 ≈ count (×10⁹/L). Read in the monolayer just behind the feathered edge.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 8

## Slide 11
HEMATOLOGY & COAGULATION · THE SMEAR
When to Pull a Smear — and What It Adds
TRIGGERS FOR MANUAL REVIEW
Any analyzer flag for blasts, immature granulocytes, or atypical lymphocytes.
New/unexplained cytopenia or an extreme count.
Abnormal indices (high MCV, MCHC >36, very high RDW).
Discrepant or critical values; clinical request (? hemolysis, ? leukemia, ? malaria).
WHAT ONLY THE SLIDE SHOWS
Blasts and Auer rods; dysplasia.
Schistocytes → microangiopathy.
Spherocytes; sickle cells; bite cells.
Malaria / Babesia parasites; toxic change; smudge cells.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 9

## Slide 12
HEMATOLOGY & COAGULATION · MORPHOLOGY
Red-Cell Morphology That Changes the Diagnosis
Original schematic. Each morphology points to a differential — schistocytes and blasts are phone-the-clinician findings.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 10

## Slide 13
HEMATOLOGY & COAGULATION · MORPHOLOGY
White-Cell & Platelet Morphology
Finding | Think of
Blasts ± Auer rods | Acute leukemia (Auer rods → myeloid; consider APL emergency)
Hypersegmented neutrophils | Megaloblastic anemia (B12 / folate)
Toxic granulation, Döhle bodies, vacuoles | Infection / sepsis
Smudge cells | Chronic lymphocytic leukemia
Left shift (bands, metamyelocytes) | Reactive / infectious leukocytosis
Hypogranular / pseudo-Pelger neutrophils | Myelodysplastic syndrome
Platelet clumps / giant platelets | Pseudothrombocytopenia; ITP or inherited macrothrombocytopenia
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 11

## Slide 14
03
PART THREE
Cases & Board Review

## Slide 15
HEMATOLOGY & COAGULATION · CASE 1
Case 1
CLINICAL VIGNETTE
An automated CBC on a well 30-year-old pre-operative patient reports a platelet count of 28 × 10⁹/L with a platelet-clump flag. She has no bruising or bleeding.
?
Most likely explanation, and the single confirming step before a critical value is called?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 12

## Slide 16
HEMATOLOGY & COAGULATION · CASE 1 · RESOLUTION
Case 1: Pseudothrombocytopenia
EDTA-dependent platelet clumping — an in-vitro artifact, not true thrombocytopenia.
Review the smear: clumps confirm the artifact.
Recollect in sodium citrate (multiply by the dilution factor).
Do not report a spurious critical value or transfuse.
TEACHING POINT
Reconcile an unexpected critical platelet count with the smear before acting; the well patient is a strong clue.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 13

## Slide 17
HEMATOLOGY & COAGULATION · CASE 2
Case 2
CLINICAL VIGNETTE
A 41-year-old woman has confusion, Hb 8.1 g/dL, platelets 22 × 10⁹/L; the smear shows numerous schistocytes and polychromasia; LDH is markedly elevated.
?
What does the smear tell you, and why is this an emergency?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 14

## Slide 18
HEMATOLOGY & COAGULATION · CASE 2 · RESOLUTION
Case 2: Microangiopathic Hemolytic Anemia
Schistocytes + thrombocytopenia + hemolysis = MAHA.
With neurologic change, think TTP — a medical emergency.
Alert the team immediately; don’t wait for the full workup.
Next: ADAMTS13, exclude DIC (coagulation panel), urgent hematology.
TEACHING POINT
Schistocytes are a 'phone-the-clinician' finding; morphology drives action hours before confirmatory assays return.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 15

## Slide 19
HEMATOLOGY & COAGULATION · CASE 3
Case 3
CLINICAL VIGNETTE
An elderly patient’s CBC reports MCV 128 fL, RBC 2.1 × 10¹²/L, and MCHC 39 g/dL; the smear shows red-cell doublets and clumping.
?
What artifact explains these indices, and how do you correct it?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 16

## Slide 20
HEMATOLOGY & COAGULATION · CASE 3 · RESOLUTION
Case 3: Cold Agglutinins
Cold agglutinins clump red cells as doublets, so the analyzer counts fewer, larger 'cells'.
Result: spuriously low RBC, high MCV, and an impossible MCHC (>36).
MCHC >36 g/dL is the giveaway — check for cold agglutinins, spherocytes, or lipemia.
Fix: warm the sample to 37°C and re-run.
TEACHING POINT
An MCHC above ~36 g/dL is almost always an artifact — investigate before reporting.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 17

## Slide 21
HEMATOLOGY & COAGULATION · BOARD REVIEW · Q1
Board-Style Review
An asymptomatic patient has an automated platelet count of 30 × 10⁹/L with a clump flag. The best next step is:
A. Transfuse platelets
B. Report the critical value and call the clinician
C. Review the smear and recollect in sodium citrate
D. Repeat in the same EDTA tube
E. Start steroids for ITP
ANSWER C — Review smear, recollect in citrate
Clumping in a well patient indicates EDTA-dependent pseudothrombocytopenia; confirm on smear and recollect in citrate before reporting or treating.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 18

## Slide 22
HEMATOLOGY & COAGULATION · BOARD REVIEW · Q2
Board-Style Review
Schistocytes with thrombocytopenia and high LDH most urgently require:
A. Routine follow-up
B. Urgent clinical notification (possible TMA/TTP)
C. Iron studies
D. Reassurance
E. Vitamin B12
ANSWER B — Urgent notification (possible TTP)
Microangiopathic hemolysis with thrombocytopenia suggests TTP/HUS/DIC — emergencies requiring immediate communication.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 19

## Slide 23
HEMATOLOGY & COAGULATION · BOARD REVIEW · Q3
Board-Style Review
MCV 130 fL with MCHC 40 g/dL and red-cell clumping is best explained by:
A. B12 deficiency
B. Hereditary spherocytosis
C. Cold agglutinins (spurious indices)
D. Iron deficiency
E. Sideroblastic anemia
ANSWER C — Cold agglutinins
An MCHC >36 with clumping indicates agglutination; cold agglutinins falsely lower RBC and raise MCV/MCHC. Warm to 37°C and re-run.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 20

## Slide 24
HEMATOLOGY & COAGULATION
Key Take-Home Points
1
MCV is the first branch point; RDW and MCHC quickly flag iron deficiency and artifacts.
2
Analyzer flags are instructions to read the smear — not diagnoses.
3
MCHC >36 g/dL is almost always an artifact (cold agglutinin, spherocytes, lipemia).
4
Pull the smear whenever counts, flags, or the patient disagree; recollect in citrate for clumping.
5
Schistocytes, blasts, and parasites are phone-the-clinician findings — act before confirmatory tests return.
Makassed General Hospital · Department of Laboratory Medicine
21

## Slide 25
HEMATOLOGY & COAGULATION · REFERENCES & FURTHER READING
References
1. Bain BJ. Blood Cells: A Practical Guide, 6th ed. Wiley-Blackwell, 2021.
2. Bain BJ. Diagnosis from the Blood Smear. N Engl J Med. 2005;353:498–507.
3. CLSI H20: Reference Leukocyte Differential Count.
4. Keohane EM, et al. Rodak’s Hematology, 6th ed. Elsevier, 2020.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 22