## Slide 1
CLINICAL PATHOLOGY RESIDENCY LECTURE SERIES
LAB MANAGEMENT & QUALITY · LECTURE 2 OF 5
Regulatory & Accreditation Essentials
CLIA, CAP, Test Complexity, and Competency
Dr. Tamima El-Jisr
Chairperson, Department of Laboratory Medicine
Makassed General Hospital, Beirut
Clinical Pathology Residency Curriculum

## Slide 2
LAB MANAGEMENT & QUALITY · FRAMING THE PROBLEM
Why This Matters
CLIA
The U.S. regulatory floor for all clinical testing
6
Elements of competency assessment to document
Ready
Inspection readiness is a daily practice, not an event
Regulatory and accreditation frameworks define the minimum standards for safe testing. Residents preparing for laboratory leadership must understand CLIA complexity, accreditation, competency, and document control.
Compliance is continuous: validated methods, qualified people, controlled documents, and inspection-ready records every day.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 2

## Slide 3
LAB MANAGEMENT & QUALITY · ·
Learning Objectives
1
Describe CLIA and CAP frameworks at a working level.
2
Classify tests by complexity (waived, moderate, high).
3
Apply competency-assessment requirements.
4
Maintain document control and version management.
5
Prepare for inspection readiness.
6
Recognize personnel and quality requirements.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 3

## Slide 4
LAB MANAGEMENT & QUALITY · WHAT WE WILL COVER
Roadmap
1
CLIA & complexity — the regulatory floor
2
Accreditation — CAP and checklists
3
Competency assessment — the six elements
4
Documents & readiness — control and inspection
5
Cases & board
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 4

## Slide 5
01
PART ONE
CLIA, Complexity & Accreditation

## Slide 6
LAB MANAGEMENT & QUALITY · CLIA
Test Complexity Categories
Category | Examples | Key requirements
Waived | Simple, low-risk (e.g., many POCT, urine dipstick) | CLIA certificate of waiver; follow manufacturer instructions
Moderate complexity | Many automated chemistry/hematology assays | QC, proficiency testing, qualified personnel, calibration verification
High complexity | Manual/complex (e.g., some molecular, manual differentials) | Strictest personnel qualifications; full QC/PT/validation
Laboratory-developed tests are high complexity and require full validation; FDA-cleared assays in moderate-complexity use require verification.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 5

## Slide 7
LAB MANAGEMENT & QUALITY · ACCREDITATION
CLIA vs Accreditation Bodies
THE REGULATORY FLOOR
CLIA sets the minimum federal standards for all U.S. clinical laboratory testing.
Certificates correspond to the complexity of testing performed.
Covers QC, PT, personnel, and quality systems.
Enforced through inspections and PT performance.
ACCREDITATION PROGRAMS
CAP (and others) provide deemed-status accreditation with detailed checklists that often exceed CLIA minimums.
Peer-based, discipline-specific checklist requirements.
Joint Commission and ISO 15189 are other frameworks.
Accreditation drives continuous, checklist-aligned compliance.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 6

## Slide 8
02
PART TWO
Competency, Documents & Readiness

## Slide 9
LAB MANAGEMENT & QUALITY · COMPETENCY
The Six Elements of Competency Assessment
WHAT MUST BE ASSESSED
1) Direct observation of test performance; 2) monitoring of recording/reporting.
3) Review of QC, PT, and maintenance records; 4) direct observation of instrument maintenance/function checks.
5) Assessment of test performance (blind/PT samples); 6) evaluation of problem-solving skills.
Assess at defined intervals (e.g., during the first year and annually thereafter).
PERSONNEL & TRAINING
Roles (director, technical/clinical consultant, supervisor, testing personnel) have defined qualifications.
Training precedes independent testing; competency confirms it is maintained.
Document everything — if it isn’t recorded, it didn’t happen.
Re-train and reassess after problems or changes.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 7

## Slide 10
LAB MANAGEMENT & QUALITY · DOCUMENTS
Document Control & Inspection Readiness
DOCUMENT CONTROL
Controlled SOPs: current versions, approvals, review dates, and retired-version archives.
Records retention per regulation (varies by record type).
Traceability from result to procedure to validation.
Change control for procedure and system changes.
INSPECTION READINESS
Readiness is daily practice — QC, PT, competency, and documents continuously in order.
Self-inspection between external inspections finds gaps early.
Know your checklists and validation files.
Corrective action records demonstrate a functioning QMS.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 8

## Slide 11
03
PART THREE
Cases & Board Review

## Slide 12
LAB MANAGEMENT & QUALITY · CASE 1
Case 1
CLINICAL VIGNETTE
A laboratory wants to bring up a new laboratory-developed molecular assay quickly using FDA-cleared reagents 'off-label' for a new indication.
?
What complexity and validation requirements apply?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 9

## Slide 13
LAB MANAGEMENT & QUALITY · CASE 1 · RESOLUTION
Case 1: LDT Validation
Modifying or developing a test (an LDT) makes it high complexity, requiring FULL validation.
Establish accuracy, precision, analytical sensitivity/specificity, reportable range, and reference interval.
Document personnel qualifications for high-complexity testing.
Verification (the lighter process) applies only to unmodified FDA-cleared assays used as intended.
TEACHING POINT
FDA-cleared/as-intended → verify; modified or laboratory-developed → validate fully as high complexity.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 10

## Slide 14
LAB MANAGEMENT & QUALITY · CASE 2
Case 2
CLINICAL VIGNETTE
During a CAP inspection, a technologist is found performing high-complexity testing with training documented but NO record of annual competency assessment.
?
What is the deficiency, and what elements were required?
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 11

## Slide 15
LAB MANAGEMENT & QUALITY · CASE 2 · RESOLUTION
Case 2: Missing Competency Assessment
Competency assessment is required (initially and at defined intervals) and was not documented — a citable deficiency.
The six elements must be assessed and recorded.
Training is not a substitute for ongoing competency assessment.
Corrective action: assess now, document, and build a compliant schedule.
TEACHING POINT
Training shows initial capability; documented competency assessment (six elements, at required intervals) shows it is maintained.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 12

## Slide 16
LAB MANAGEMENT & QUALITY · BOARD REVIEW · Q1
Board-Style Review
A laboratory-developed test (LDT) is classified as:
A. Waived
B. Moderate complexity automatically
C. High complexity, requiring full validation
D. Exempt from CLIA
E. Verification only
ANSWER C — High complexity; full validation
LDTs (and modified FDA-cleared assays) are high complexity and require full validation of performance characteristics before clinical use.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 13

## Slide 17
LAB MANAGEMENT & QUALITY · BOARD REVIEW · Q2
Board-Style Review
Which is NOT one of the six elements of competency assessment?
A. Direct observation of test performance
B. Review of QC and PT records
C. Assessment of problem-solving skills
D. Annual salary review
E. Direct observation of instrument maintenance
ANSWER D — Annual salary review
The six elements concern test performance, recording, QC/PT review, maintenance observation, blind sample testing, and problem-solving — not compensation.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 14

## Slide 18
LAB MANAGEMENT & QUALITY · BOARD REVIEW · Q3
Board-Style Review
CLIA primarily functions as:
A. A voluntary accreditation program
B. The minimum federal regulatory standard for clinical testing
C. A proficiency testing vendor
D. A reimbursement system
E. A document-management tool
ANSWER B — The minimum federal regulatory standard
CLIA establishes the baseline federal requirements for all U.S. clinical laboratory testing; accreditors like CAP provide deemed status often exceeding CLIA.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 15

## Slide 19
LAB MANAGEMENT & QUALITY
Key Take-Home Points
1
CLIA is the regulatory floor; test complexity (waived / moderate / high) drives requirements.
2
FDA-cleared as-intended assays require verification; modified or laboratory-developed tests require full validation (high complexity).
3
Document the six elements of competency assessment at required intervals — training alone is insufficient.
4
Maintain controlled, current SOPs with retention and change control; traceability from result to validation.
5
Inspection readiness is continuous — use self-inspection and corrective-action records to demonstrate a functioning QMS.
Makassed General Hospital · Department of Laboratory Medicine
16

## Slide 20
LAB MANAGEMENT & QUALITY · REFERENCES & FURTHER READING
References
1. Centers for Medicare & Medicaid Services. CLIA regulations (42 CFR 493).
2. College of American Pathologists. Laboratory Accreditation Program checklists (current).
3. CLSI QMS documents.
4. ISO 15189: Medical laboratories — requirements for quality and competence.
Makassed General Hospital · Department of Laboratory Medicine
CP Lecture Series · 17